## Eglink Catalog 2026
Electronic Test & Measurement ¦ Used Equipments Sales List
For pricing and availability, contact Solutionssolution ¦ solutionssolution.com
Product / Category | Model | Manufacturer | Spec / Option
▶ BERT
BERT | DPP125B | Tek | BERTScope 12.5 Gb/s Digital Pre-emphasis Processor
BERT | M8020A | Keysight | opt C16/0G3/0G4/0G5/UG2/0G7/0S2, need export license
BERT | MP1800A | Anritsu | with MU181020A OPT-001, MU181800A, opt 001/002/015
BERT | MP1800A | Anritsu | with MU181020A OPT-001, opt 001/014
BERT | MP1800A | Anritsu | with MU18100A/MU183020A/MU183040A/MU181500B, opt 001/002/015/032
BERT | MP1800A | Anritsu | with MU181020A OPT-002 4 units, MU181800A, opt 001/002/015
BERT | MP1800A | Anritsu | with G0374/MU183021A/MU183040A/MU18100B, opt 001/015/032
BERT | MP2101A | Anritsu | MX210000A WinXP opt 011/030/050/052/090
BERT | N4965A | Agilent | Multi-Channel BERT 12.5 Gb/s, mainbody only
BERT | PCB12500 | CENTELLAX | 12.5 Gb/s Parallel Channel BERT, mainbody only
▶ BERT Module
BERT Module | MU110012A | Anritsu | 40/100G Module for MT1100A, opt 016/056
▶ BERT/Eye Pulse Scope
BERT/Eye Pulse Scope | MP2100A BERTWave | Anritsu | opt 003/051/063/076/079/080/090
BERT/Eye Pulse Scope | MP2100B BERTWave | Anritsu | opt 021/030
BERT/Eye Pulse Scope | MP2100B BERTWave | Anritsu | opt 011/023/030/069/073/075/086
▶ Cable for Oscilloscope
Cable for Oscilloscope | N5450A | Agilent | InfiniiMax Extreme Temperature Extension Cable 12GHz
▶ Connectivity Kit
Connectivity Kit | E2668A | Keysight | InfiniiMax Single-ended Connectivity Kit
▶ Current Sensor
Current Sensor | CX1101A+CX1203A | Keysight | Single Channel +/-40V 100MHz 40nA-1A for CX3300A
▶ Data Timing Generator
Data Timing Generator | DTG5334 | Tek | with DTGM30 2 units/DTGM21 1 unit
Data Timing Generator | DTGM10 | Tek | Data Timing Generator Module
Data Timing Generator | DTGM32 | Tek | Differential Output Module
▶ DCA
DCA | 86100B | Agilent
DCA | 86100C | Agilent | opt 092/701
DCA | 86100C | Agilent | mainframe only DCA-J, opt 001/092
DCA | 86100D | Keysight | DCA-X Win 7, opt 092/ETR/GPI
DCA | 86100D | Keysight | DCA-X Win 7, opt 092/500/ETR/GPI/PTB
DCA | 86100D | Keysight | DCA-X Win 7 with PAM4, opt 092/200/201/300/500/ETR/GPI/SIM/PTB
DCA | 86100D | Agilent | Win XP opt 092/200/201/300/ETR/GPI
DCA | 86100D | Agilent | Win XP opt 092/200/202/300/ETR/GPI/SIM
DCA | 86100D | Keysight | DCA-X Win 7, opt 092/STR/GPI
DCA | 86100D | Agilent | Win XP opt 092/ETR/GPI
DCA | CSA8000B | Tek | mainframe only
DCA | DSA8300 | Tek | Win 7
▶ DCA Module
DCA Module | 80C07B | Tek
DCA Module | 80C08C-CR4 | Tek | Optical Sampling Module 700-1650nm
DCA Module | 80C10C | Tek | Single Channel 65/80GHz Optical Sampling Module opt D1/F1
DCA Module | 80C11 | Tek | Optical Sampling Module 1100-1650nm
DCA Module | 80A05-10G | Tek | Electrical Clock Recovery Module with 10G option
DCA Module | 83485B | HP | 30Gb Optical and 18/40GHz Electrical Plug-In
DCA Module | 86109A | Agilent | 30GHz Optical/40GHz Electrical
DCA Module | 86109B | Agilent | 40GHz optical/50GHz electrical 1000-1600nm
DCA Module | 86118A | Agilent | 70GHz Dual Remote Sampling Head
▶ DCA Module TDR
DCA Module TDR | 80E03 | Tek
DCA Module TDR | 80E10 | Tek | 50GHz Dual Channel Remote Sampling
DCA Module TDR | 54751A | HP | 20GHz dual channel electrical
DCA Module TDR | 80A06 | Tek | PatternSync Trigger Module
DCA Module TDR | 86105B | Agilent | electrical module opt 101
DCA Module TDR | 86105B | Agilent | electrical module opt 111
DCA Module TDR | 86105C | Agilent | 750-1650nm 9GHz Optical/20GHz Electrical opt 200
DCA Module TDR | 86105D | Agilent | 9.95-14Gb/s with 8.50Gb opt 100
DCA Module TDR | 86105D | Keysight | with OPT 141
DCA Module TDR | 86105D | Agilent | 14.025Gb/s
DCA Module TDR | 86105D | Keysight | opt 141 35GHz Electrical Bandwidth
DCA Module TDR | 86107A | Agilent | Precision Timebase Reference Module opt 040
DCA Module TDR | 86107A | Agilent | opt 010
DCA Module TDR | 86107A | Keysight | opt 040
DCA Module TDR | 86116A | Agilent | 53GHz optical/63GHz electrical
DCA Module TDR | 86116C | Agilent | opt 025 80GHz Electrical/40GHz Optical
DCA Module TDR | 86116C | Keysight | opt 025 80GHz Electrical/40GHz Optical
▶ DCA Module TDR Cal Kit
DCA Module TDR Cal Kit | N1024A | Agilent | TDR Calibration Kit
▶ DCA Probe
DCA Probe | N1020A | Agilent | Time Domain Probe kit for 86100 series
▶ DCA Probe I/F Module
DCA Probe I/F Module | 80A03 | Tek | Interfaces P7000 Series probes to DSA8300
▶ DCA Protection Module
DCA Protection Module | 80A02 | Tek | protection module
▶ DCA TDR Probe
DCA TDR Probe | P8018 | Tek | TDR Probe single ended
▶ High Impedance Adapter
High Impedance Adapter | E2697A | Agilent | includes 500MHz passive probe
▶ Logic Analyzer
Logic Analyzer | 16806A | Keysight | mainframe only
Logic Analyzer | 16822A | Agilent | without grabber/flying lead
Logic Analyzer | 16903A | Agilent | without grabber/flying lead
Logic Analyzer | TLA6203 | Tek | with 102CH LA Module
Logic Analyzer | TLA7012 | Tek | with TLA7AA4 136ch
▶ Logic Analyzer Acce
Logic Analyzer Acce | N4851A/E4861A | Agilent | MIPI D-PHY Digital Acquisition Probe / Serial Stimulus Probe
▶ Oscilloscope Adapter
Oscilloscope Adapter | AP-1M | LeCroy | Hi-Z Buffer 1Mohm 150Vpk Max
Oscilloscope Adapter | LPA-SMA | LeCroy | Pro-Link to SMA Adapter
▶ Oscilloscope Analog
Oscilloscope Analog | 2465B | Tek | 400MHz 4ch Analog
Oscilloscope Analog | TS-80600 | Iwatsu | DC to 600MHz Analog
Oscilloscope Analog | TS-81000 | Iwatsu | DC to 1GHz Analog
▶ Oscilloscope Digital
Oscilloscope Digital | 104MXi | LeCroy | 1GHz 4ch
Oscilloscope Digital | 104MXi-A | LeCroy | 1GHz 4ch
Oscilloscope Digital | 104MXs | LeCroy | 1GHz/5GS 4ch
Oscilloscope Digital | 54852A | Agilent | 2GHz 10GS/s 4ch 1Mpts, CH1 level issue
Oscilloscope Digital | 54855A | Agilent | Win XP 6GHz 4CH 20GSa/s opt 001/002
Oscilloscope Digital | 64MXs-B | LeCroy | 600MHz 10GS/s 12.5Mpts/Ch
Oscilloscope Digital | 64Xi | LeCroy | 600MHz 5GS/s 10Mpts 6 inch Display
Oscilloscope Digital | DL7100 | Yokogawa | 4ch+16ch Logic 500MHz 1GS/s
Oscilloscope Digital | DL9040L | Yokogawa | 701308-M-HJ/P2/C10/G4/7N
Oscilloscope Digital | DL9140(701310) | Yokogawa
Oscilloscope Digital | DL9140L(701311) | Yokogawa | 1GHz 5GS/s 6.25Mw 4ch
Oscilloscope Digital | DL9240(701312) | Yokogawa | 4ch 1.5GHz max 10GS/s opt -M-HJ/B5/P2/C8
Oscilloscope Digital | DL9240L(701313) | Yokogawa | 1.5GHz 10GS/s 4ch opt -M-HJ/B5/P2/C8/F8
Oscilloscope Digital | DL9240L(701313) | Yokogawa | 1.5GHz 10GS/s 4ch opt -M-HJ/B5/P2/C8/F5
Oscilloscope Digital | DL9505L | Yokogawa | 500MHz max 5GS/s 16 Digital CH 701320
Oscilloscope Digital | DL9510L(701321) | Yokogawa | 1GHz max 5GS/s opt -M-HJ-L2/B5/P4
Oscilloscope Digital | DPO2014B | Tek | 4ch 100MHz 1GS/s
Oscilloscope Digital | DPO2024B | Tek | 4ch 200MHz 1GS/s
Oscilloscope Digital | DPO3012 | Tek | 2ch 100MHz 2.5GS/s
Oscilloscope Digital | DPO3014 | Tek | 4ch 100MHz 2.5GS/s
Oscilloscope Digital | DPO3032 | Tek | 2ch 300MHz 2.5GS/s
Oscilloscope Digital | DPO3034 | Tek | 4ch 300MHz 2.5GS/s
Oscilloscope Digital | DPO3054 | Tek | 4ch 500MHz
Oscilloscope Digital | DPO4034B | Tek
Oscilloscope Digital | DPO4054 | Tek | 4ch 500MHz 5GS/s
Oscilloscope Digital | DPO4054B | Tek | 4ch 500MHz 5GS/s
Oscilloscope Digital | DPO4104 | Tek | 4ch 1GHz 5GS/s
Oscilloscope Digital | DPO4104B | Tek | 4ch 1GHz 5GS/s 20Mpts
Oscilloscope Digital | DPO5054B | Tek | WIN 7 opt 2RL/ASM/LT/VET/SR-CUST/DJE
Oscilloscope Digital | DPO5104 | Tek | opt ASM/SR-EMBD/SR-COMP/DJE
Oscilloscope Digital | DPO5104B | Tek | 4ch 1GHz 10GS/s 25M opt 2RL/ASM/LT/VET/SR-CUST/DJE
Oscilloscope Digital | DPO5104B | Tek | WIN 7 opt 2RL/ASM/LT/VET/SR-CUST/PWR/DJE
Oscilloscope Digital | DPO5104B | Tek | WIN 7 opt PWR
Oscilloscope Digital | DPO5204B | Tek | WIN 7 opt 2RL/ASM/DJE/LT/SR-CUST/VET
Oscilloscope Digital | DPO5204B | Tek | WIN 7 opt 10RL/SR-EMBD
Oscilloscope Digital | DPO7104 | Tek | 1GHz 4ch
Oscilloscope Digital | DPO7104 | Tek | 1GHz 4ch opt 5RL
Oscilloscope Digital | DPO7104 | Tek | 1GHz 4ch opt ASM
Oscilloscope Digital | DPO7104C | Tek | 1GHz 4ch 20GS/s opt 2RL/2SR/ASM/LT/VET/SR-CUST/DJE
Oscilloscope Digital | DPO7254C | Tek | opt 2RL/ASM/LT/VET/SR-CUST/DJE
Oscilloscope Digital | DPO7254C | Tek | opt 2RL/ASM/LT/VET/SR-CUST/DJA/TDSET3
Oscilloscope Digital | DPO7354 | Tek | 4ch 3.5GHz 40GS/s opt ASM/DJE/LT/MTM
Oscilloscope Digital | DPO7354C | Tek | 3.5GHz 4ch 40GS/s opt 2RL/DJA/ET3/USB2/PGY
Oscilloscope Digital | DPO7354C | Tek | 3.5GHz 4ch 40GS/s opt ASM/DJE
Oscilloscope Digital | DS-4264M | LeCroy/Iwatsu | WaveRunner 350MHz 1GS/s 4CH
Oscilloscope Digital | DS-4354M | LeCroy/Iwatsu | WaveRunner 500MHz 1GS/s 4CH
Oscilloscope Digital | DSA70404 | Tek | WinXP JE3/JA3/PTH/MTH/RTE
Oscilloscope Digital | DSA70404 | Tek | WinXP 5XL/MTH/ST/USB/RTE/JA3/PTD
Oscilloscope Digital | DSA70804 | Tek | WIN XP opt 2XL/MTH/PTH1/ASM/RTE/PCI/TDSDVI/TDSET3/JA3/SVE/SVM
Oscilloscope Digital | DSA70804B | Tek | opt 2XL/ST/ASM/DDRA/USB/RTE/JA3/PTD/DJA Win XP
Oscilloscope Digital | DSA70804B | Tek | opt 2XL/MTH/ST/ASM/DDRA/HT3/PTD/DJA Win XP
Oscilloscope Digital | DSA70804C | Tek | opt 2XL/MTH/PTH1/ASM/DDRA/STU/SR-CUST/TDSUSB2/PCE/TDSET3/DJA
Oscilloscope Digital | DSA71254 | Tek | 2XL/MTH/ST/ASM/RTE/SST/JA3/PTD/DJA
Oscilloscope Digital | DSA71254B | Tek | opt 2XL/MTH/ST/ASM/DDRA/PTD/DJA
Oscilloscope Digital | DSA72004B | Tek | WIN XP 5XL/MTH/ST/ASM/ERRDT/STU/USB/PTD/DJA/USB3/SLA
Oscilloscope Digital | DSA72004C | Tek
Oscilloscope Digital | DSA90604A | Keysight | opt 003/004/005/009/022/032/029/035
Oscilloscope Digital | DSA90604A | Agilent | 6GHz 20GSa/s 4ch Win XP opt 003/004/005/009/035/800/803/805/20M
Oscilloscope Digital | DSA90604A | Agilent | Win7 opt 003/004/005/009/033/20M/800/805
Oscilloscope Digital | DSA91204A | Keysight | 12GHz 40GSa/s 4ch 20Mpts opt 009/014/021/030/033
Oscilloscope Digital | DSA91204A | Agilent | 12GHz 40GSa/s 4ch 20Mpts opt 009/800/803/DSA
Oscilloscope Digital | DSA91304A | Keysight | opt 003/004/005/009/010/012/014/035/20M/800/805/821
Oscilloscope Digital | DSA91304A | Agilent | Win 7 opt 077/009/014/040/DSA/800/805/OS7
Oscilloscope Digital | DSA91304A | Keysight | upgraded from DSA91204A opt 003/004/005/009/010/014/030/032/033/100/800/803/805
Oscilloscope Digital | DSO1012A | Agilent | 100MHz 2 Analog Channels USB
Oscilloscope Digital | DSO3152A | Agilent | 150MHz/1GS 3ch
Oscilloscope Digital | DSO3202A | Agilent | 200MHz/1GS 2ch
Oscilloscope Digital | DSO5012A | Agilent | 100MHz 2GS/s 2ch 8Mpts
Oscilloscope Digital | DSO5014A | Agilent | 100MHz 2GS/s 4ch 8Mpts
Oscilloscope Digital | DSO5054A | Agilent | 500MHz 4GS/s 4ch 8Mpts
Oscilloscope Digital | DSO6014A | Agilent | 100MHz/2GS 4CH
Oscilloscope Digital | DSO6032A | Agilent | 300MHz/2GS 2CH
Oscilloscope Digital | DSO6034A | Agilent | 300MHz/2GS 4CH
Oscilloscope Digital | DSO7054B | Agilent | 500MHz/4GS
Oscilloscope Digital | DSO7104A | Agilent | 1GHz 4GS/s 8Mpts opt mem8M/LSS/MST/E00
Oscilloscope Digital | DSO80804A | Agilent | opt 001/002/093
Oscilloscope Digital | DSO80804B | Agilent | upgraded from DSO80404B by Keysight
Oscilloscope Digital | DSO8104A | Agilent | 1GHz 4GS/s 4ch 8Mpts
Oscilloscope Digital | DSO81204B | Agilent
Oscilloscope Digital | DSO81304B | Agilent | Win XP 4CH 13GHz 40GSa/s CH4 level issue
Oscilloscope Digital | DSOS404A | Keysight | Infiniium S Series opt 400/Win7
Oscilloscope Digital | DSOS604A | Keysight | Infiniium S Series opt 004/005/Win7
Oscilloscope Digital | DSOX2012A | Keysight | 100MHz 2ch 100kpts
Oscilloscope Digital | DSOX2014A | Agilent
Oscilloscope Digital | DSOX2024A | Keysight | 200MHz 2ch
Oscilloscope Digital | DSOX3054A | Agilent | 500MHz 4CH up to 4Mpts
Oscilloscope Digital | DSOX3054T | Keysight
Oscilloscope Digital | DSOX3104T | Keysight | 1GHz 4CH opt MEMUP/EMBD/AUTO/FLEX/FRA/PWR/COMP/SGM/MASK/AUDIO/EDK/WAVEGEN
Oscilloscope Digital | DSOX4054A | Agilent | 500MHz 4ch 5GS/s opt MEMUP/SGM/BW50/ADVMATH
Oscilloscope Digital | DSOX4154A | Agilent | 1.5GHz 4ch 5GS/s opt MEMUP/SGM/EDK/ADVMATH/DVM/RML
Oscilloscope Digital | DSOX92004Q | Keysight | Win7 20GHz 160GSa/s 2ch / 80GSa/s 4ch opt 054
Oscilloscope Digital | DSOX93204A | Agilent | Win 7 32GHz 80GS/s 2ch / 40GS/s 4ch opt 800/805
Oscilloscope Digital | GDS-3252 | GW | 2ch 250MHz 2GS/s
Oscilloscope Digital | LT262 | LeCroy | 350MHz 1GS/s 2ch
Oscilloscope Digital | LT264 | LeCroy | 350MHz 1GS/s 4ch
Oscilloscope Digital | LT354ML | LeCroy | 4ch 500MHz 4GS/s 500kpts
Oscilloscope Digital | LT364 | LeCroy | 4ch 500MHz 1GS/s
Oscilloscope Digital | LT364L | LeCroy | 4ch 500MHz 1GS/s 2Mpts/CH
Oscilloscope Digital | LT584M | LeCroy | 1GHz 2GS/s 4ch 250kpts/ch
Oscilloscope Digital | MXO34-1000PK | R&S | 1GHz 5GS/s 4ch 125Mpts Brand New 3yr warranty Mar 2026
Oscilloscope Digital | MXO34-500PK | R&S | 500MHz 5GS/s 4ch 125Mpts Brand New 3yr warranty Mar 2026
Oscilloscope Digital | RTA-BNDL | R&S | 1GHz 5GS/s 4ch Brand New no warranty
Oscilloscope Digital | RTC1002 | R&S | 300MHz 1GS/s 2ch Brand New no warranty
Oscilloscope Digital | RTM3004 | R&S | 500MHz 5GS/s 10bit opt B245/Z1 R&S demo
Oscilloscope Digital | RTM-BNDL | R&S | 500MHz 5GS/s 4ch Brand New no warranty
Oscilloscope Digital | RTO1014 | R&S | 1GHz 4ch 10GS/s 80M opt K24/K12/B4
Oscilloscope Digital | RTO1044 | R&S | 4GHz 4ch 20GS/s 80M opt K24/K12/B4
Oscilloscope Digital | SDS1302CFL | Siglent | 300MHz 2GS/s 2CH brand new no warranty
Oscilloscope Digital | TBS1152 | Tek | 150MHz/1GS 2ch Brand New no Tek warranty
Oscilloscope Digital | TDS2012B | Tek | 100MHz 1GS/s 2ch USB
Oscilloscope Digital | TDS2012C | Tek | 100MHz 2GS/s 2ch USB
Oscilloscope Digital | TDS2014 | Tek | 100MHz 2GS/s 4ch
Oscilloscope Digital | TDS2014B | Tek | 100MHz 2GS/s 4ch USB
Oscilloscope Digital | TDS2014C | Tek | 100MHz 2GS/s 4ch USB
Oscilloscope Digital | TDS2024B | Tek | 200MHz 2GS/s 4ch USB
Oscilloscope Digital | TDS2024C | Tek | 200MHz 2GS/s 4ch USB
Oscilloscope Digital | TDS3014B | Tek | 4ch 100MHz 1.25GS/s
Oscilloscope Digital | TDS3014C | Tek | 4ch 100MHz 1.25GS/s USB
Oscilloscope Digital | TDS3032B | Tek | 2ch 300MHz 2.5GS/s
Oscilloscope Digital | TDS3034 | Tek | 4ch 300MHz 2.5GS/s
Oscilloscope Digital | TDS3034B | Tek | 4ch 300MHz 2.5GS/s 10K/ch
Oscilloscope Digital | TDS3034C | Tek | 4ch 300MHz 2.5GS/s USB with generic probes
Oscilloscope Digital | TDS3044B | Tek | 4ch 400MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3052 | Tek | 2ch 500MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3052B | Tek | 2ch 500MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3052C | Tek | 2ch 500MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3054 | Tek | 4ch 500MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3054B | Tek | 4ch 500MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3054C | Tek | 4ch 500MHz 5GS/s Color LCD
Oscilloscope Digital | TDS3064B | Tek | 4ch 600MHz 5GS/s Color LCD
Oscilloscope Digital | TDS5034B | Tek | bad cosmetic
Oscilloscope Digital | TDS5054B | Tek
Oscilloscope Digital | TDS5104B | Tek | with 4 brand new generic 500MHz passive probes
Oscilloscope Digital | TDS7054 | Tek | 500MHz
Oscilloscope Digital | TDS7254 | Tek | opt JT3/PW3
Oscilloscope Digital | TDS7404 | Tek | 4GHz 20GS/s 4CH opt 3M
Oscilloscope Digital | TDS7404B | Tek | 4GHz 20GS/s opt 3M
Oscilloscope Digital | TDS7704B | Tek | 7.25GHz 20GS/s 4CH opt 2M
Oscilloscope Digital | TDS7704B | Tek | 7.25GHz 20GS/s 4CH Win XP opt RTE/JA3/PTD
Oscilloscope Digital | TDS7704B | Tek | opt DVI/2M/RTE/PCE
Oscilloscope Digital | TDS7704B | Tek | opt 4M/SM/ST/RTE/ET3/JA3/PTD
Oscilloscope Digital | TPS2014B | Tek | 4 Fully Isolated Channels 100MHz 1GS/s
Oscilloscope Digital | WavePro 7100 | LeCroy | 1GHz 4ch 20GS/s Win 2000
Oscilloscope Digital | WaveRunner 204MXi | LeCroy | 2GHz 5GS/s 4CH 12.5Mpts/Ch
Oscilloscope Digital | WaveRunner 604Zi | LeCroy | 400MHz 10GS/s 4CH opt JTA2
Oscilloscope Digital | WaveRunner 604Zi | LeCroy | 400MHz 10GS/s 4CH opt HDTV/I2C/JTA2/VBAi/XWEB
Oscilloscope Digital | WaveRunner 6050 | LeCroy | 500MHz 4ch
Oscilloscope Digital | WaveRunner 6200A | LeCroy | 2GHz Win XP
Oscilloscope Digital | WaveSurfer 3034z | LeCroy | 4CH 350MHz/4GS up to 20Mpts 10.1 touch screen
Oscilloscope Digital | WaveSurfer 44Xi | LeCroy | 400MHz 5GS/s 4CH 12.5Mpts/Ch
Oscilloscope Digital | WaveSurfer 454 | LeCroy | 500MHz 4CH 2GS/s 10.4 touch screen
▶ Oscilloscope Digital ACC
Oscilloscope Digital ACC | DPO3AUTO | Tek | Automotive Serial Triggering Module brand new
Oscilloscope Digital ACC | DPO3COMP | Tek | Computer Serial Triggering Module brand new
Oscilloscope Digital ACC | DPO3EMBD | Tek | Embedded Serial Triggering Module brand new
Oscilloscope Digital ACC | DPO4AUTO | Tek | Automotive Serial Triggering Analysis brand new
▶ Oscilloscope Battery Charger
Oscilloscope Battery Charger | TPSCHG | Tek | Battery Charger Brand New
▶ Oscilloscope Digital HH
Oscilloscope Digital HH | 199 | Fluke | 200MHz 2.5GS/s 4ch isolated with hard case
Oscilloscope Digital HH | 199C | Fluke | 200MHz 2.5GS/s 4ch isolated with hard case
Oscilloscope Digital HH | THS3024 | Tek | 200MHz 2.5GS/s 4ch isolated
Oscilloscope Digital HH | THS3024-TK | Tek | THS3024 with hard case
Oscilloscope Digital HH | THS710A | Tek | 60MHz 500MS/s
Oscilloscope Digital HH | THS720A | Tek | 100MHz 500MS/s
Oscilloscope Digital HH | THS720P | Tek | 100MHz 500MS/s
Oscilloscope Digital HH | THS730A | Tek | 200MHz 1GS/s
▶ Oscilloscope Mixed Domain
Oscilloscope Mixed Domain | MDO3034 | Tek | opt MDO3AFG
Oscilloscope Mixed Domain | MDO3054 | Tek | 500MHz with generic probes
Oscilloscope Mixed Domain | MDO4014-3 | Tek
Oscilloscope Mixed Domain | MDO4054C | Tek | 500MHz 20M record length
Oscilloscope Mixed Domain | MDO4054C | Tek | opt MSO/AFG
Oscilloscope Mixed Domain | MDO4104B-3 | Tek
Oscilloscope Mixed Domain | MDO4104C | Tek
▶ Oscilloscope Mixed Domain SW
Oscilloscope Mixed Domain SW | MDO3BND | Tek | Software Bundle for MDO3000 brand new
▶ Oscilloscope Mixed Domain
Oscilloscope Mixed Domain | MDO3104 | Tek | 1GHz Mixed Domain
▶ Oscilloscope Mixed Signal
Oscilloscope Mixed Signal | 54832B | Agilent | 1GHz 4GS/s 4ch non original probes
Oscilloscope Mixed Signal | 54832D | Agilent | 1GHz 4GS/s 4+16ch Win 98
Oscilloscope Mixed Signal | 54832D | Agilent | 1GHz 4GS/s 4+16ch Win XP
Oscilloscope Mixed Signal | DL7480(701470) | Yokogawa | 500MHz 2GS/s 8CH
Oscilloscope Mixed Signal | DL7480(701480) | Yokogawa | 500MHz 2GS/s 8CH 16MW memory
Oscilloscope Mixed Signal | DL9710L(701331) | Yokogawa | 4ch 1GHz + Logic 32bits 5GS/s
Oscilloscope Mixed Signal | DL9710L(701331) | Yokogawa | 4ch 1GHz + Logic 32bits 5GS/s opt C8/P4
Oscilloscope Mixed Signal | DLM2024(710110) | Yokogawa | opt -M-HJ/B5/C10/7N body yellowed
Oscilloscope Mixed Signal | DLM2024(710110) | Yokogawa | opt -M-HJ/B5/M1/P4/C11/C9
Oscilloscope Mixed Signal | DLM2052(710125) | Yokogawa | 2ch 500MHz opt -M-HJ/C11/M1S/EX52
Oscilloscope Mixed Signal | DLM2054(710130) | Yokogawa | 4ch 500MHz opt -M-HJ/M1/P4/C10/C8/F3/7N
Oscilloscope Mixed Signal | DLM2054(710130) | Yokogawa | opt -M-HJ/B5/P4/C11/C8
Oscilloscope Mixed Signal | DLM2054(710130) | Yokogawa | opt -M-HJ/B5/M1/D266P4/C11/C9
Oscilloscope Mixed Signal | DLM2054(710130) | Yokogawa | 4ch 500MHz opt M-HJ/B5/M2/P4/C11/C9/F4
Oscilloscope Mixed Signal | DLM2054(710130) | Yokogawa | opt -M-HJ/LN/B5
Oscilloscope Mixed Signal | DLM2054(710130) | Yokogawa | 4ch 500MHz opt M-HJ/B5/M2/P4/C11/C9/F1/F4
Oscilloscope Mixed Signal | DLM4058 | Yokogawa | 8ch 2.5GS/s 500MHz opt -D-HJ/B5/P8/C1/C8/E1
Oscilloscope Mixed Signal | DLM4058 | Yokogawa | 8ch 2.5GS/s 500MHz opt -D-HJ/B5/M2/P8/C1/C8/F7/E1
Oscilloscope Mixed Signal | DLM6104 | Yokogawa | opt -M-HJ-L32/F3/7N some face plate damage
Oscilloscope Mixed Signal | MSO3032 | Tek | 2+16ch 300MHz 2.5GS/s
Oscilloscope Mixed Signal | MSO4034 | Tek | 4+16ch 350MHz 5GS/s
Oscilloscope Mixed Signal | MSO4034B | Tek
Oscilloscope Mixed Signal | MSO4054 | Tek
Oscilloscope Mixed Signal | MSO4104 | Tek
Oscilloscope Mixed Signal | MSO4104B | Tek | opt DPO4EMBD
Oscilloscope Mixed Signal | MSO5204 | Tek | WIN 7 opt ASM/MSOE/SR-CUST/ET3/DJE
Oscilloscope Mixed Signal | MSO5204 | Tek | WIN 7 opt DJA/USB/SR-EMBD
Oscilloscope Mixed Signal | MSO5204B | Tek | WIN 7 opt 10RL/SR-EMBD/ASM/LT/MSOE/VET/SR-CUST/DJE
Oscilloscope Mixed Signal | MSO70404C | Tek | opt 5XL/PTH/ST/ASM/DDRA/SR-EMBD/STU/SR-810B/SR-CUST/PTD/DJA
Oscilloscope Mixed Signal | MSO7054A | Agilent | 500MHz 4+16ch
Oscilloscope Mixed Signal | MSO70604C | Tek | opt 5XL/MTH/ST6G/DJA/DDRA/PCE3/VET
Oscilloscope Mixed Signal | MSO70804C | Tek | opt DDRA/DSAH/VET
Oscilloscope Mixed Signal | MSO9104A | Agilent | opt 009/018/021/800
Oscilloscope Mixed Signal | MSOS254A | Keysight | WIN 10 opt 014/027/042/400/S43/S56
Oscilloscope Mixed Signal | MSOX2012A | Keysight | 100MHz 2ch
Oscilloscope Mixed Signal | MSOX3054T | Keysight
Oscilloscope Mixed Signal | MSOX3104T | Keysight | 1GHz 4+16ch
Oscilloscope Mixed Signal | MSO8104A | Agilent | 1GHz 4+16ch with logic accessories
▶ Oscilloscope/Recorder
Oscilloscope/Recorder | DL708 | Yokogawa | 4 units 701852 / 1 unit 701860
Oscilloscope/Recorder | DL750(701210) | Yokogawa | with 701250 8 units
Oscilloscope/Recorder | DL750(701210) | Yokogawa | mainframe only
Oscilloscope/Recorder | DL750P(701230) | Yokogawa | opt -M-J3-HJ/M1/C8/C10/G2/P4/7N
Oscilloscope/Recorder | DL750P(701230) | Yokogawa | with 701250 4 units
Oscilloscope/Recorder | DL850 | Yokogawa | opt -M-HJ/B5/HD1/C20/P4
Oscilloscope/Recorder | DL850 | Yokogawa | with 2 modules opt M-HJ/B5/P4/7N
Oscilloscope/Recorder | DL850E | Yokogawa | 701255 3 units opt -D-HJ/HD1/G3
Oscilloscope/Recorder | DL850E | Yokogawa | 701260 2 units/701265 1 unit opt -D-HJ/HD1
Oscilloscope/Recorder | DL850E | Yokogawa | 701260 3 units/720830 1 unit opt HJ/M1/HD1
Oscilloscope/Recorder | DL850E | Yokogawa | opt -D-HJ/M2/HD1/C1/P4
Oscilloscope/Recorder | DL850EV | Yokogawa | opt -D-HJ/DC/M2/HD1/P4
Oscilloscope/Recorder | DL850V | Yokogawa | opt -M-HJ/DC/HD1/C20/G3/P4
Oscilloscope/Recorder | DL850V | Yokogawa | 701255 1 unit opt -M-HJ/DC/HD1/C20/G3/P4
Oscilloscope/Recorder | SL1400(701240) | Yokogawa | with 701265 1 unit
▶ Oscilloscope/Recorder Module
Oscilloscope/Recorder Module | 701251 | Yokogawa | High-speed 1MS/s 16-Bit Isolation 2ch
Oscilloscope/Recorder Module | 701260 | Yokogawa | High-Voltage 100kS/s 16-Bit Isolation
Oscilloscope/Recorder Module | 701265 | Yokogawa | Temperature/high-precision voltage 2ch
▶ Probe Accessory
Probe Accessory | E2655A | Agilent | Deskew and Performance Verification
Probe Accessory | E2655B | Agilent | Deskew and Performance Verification
Probe Accessory | E2655C | Keysight | Deskew and Performance Verification
Probe Accessory | E2695A | Agilent | Differential SMA Probe Head for InfiniiMax
▶ Probe Active
Probe Active | 700939 | Yokogawa | DC-900MHz 1.5m 50ohm
Probe Active | 1131A | Agilent | InfiniiMax 3.5GHz
Probe Active | 1132A | Agilent | 5GHz
Probe Active | 1134A | Agilent | 7GHz +/-2.5V
Probe Active | 1156A | Agilent | 1.5GHz
Probe Active | 1157A | Agilent | 2.5GHz
Probe Active | 1168A | Keysight | 10GHz
Probe Active | 1169A | Agilent | 12GHz
Probe Active | 1169B | Agilent | InfiniiMax II 12GHz
Probe Active | 1169B | Keysight | InfiniiMax II 12GHz
Probe Active | 41800A | HP | 5Hz-500MHz with original hard case
Probe Active | HFP1500 | LeCroy | 1.5GHz
Probe Active | HFP2500 | LeCroy | 2.5GHz
Probe Active | N2796A | Keysight | 2GHz
Probe Active | N2839A | Keysight | InfiniiMax II Differential Browser 21GHz
Probe Active | P6205 | Tek | DC-750MHz
Probe Active | P6209 | Tek | 4GHz 5x Active FET
Probe Active | P6247 | Tek
Probe Active | P6249 | Tek | 5X 4.0GHz Active FET
Probe Active | P7225 | Tek | 4GHz Low Voltage Single Ended
Probe Active | P7240 | Tek | 4GHz Active
Probe Active | P7716 | Tek | 16GHz
Probe Active | PBA1000 | Yokogawa | 2.5GHz
Probe Active | PBA1500 | Yokogawa | 1.5GHz
Probe Active | PBA2500 | Yokogawa | 1GHz
Probe Active | TAP1500 | Tek | 1.5GHz
Probe Active | TAP2500 | Tek | 2.5GHz
Probe Active | WL-PLink | LeCroy | 4GHz/6GHz
Probe Active | ZS1000 | LeCroy | 1GHz 0.9pF 1MOhm
Probe Active | ZS1500 | LeCroy | 1.5GHz 0.9pF 1MOhm
Probe Active | ZS2500 | LeCroy | 2.5GHz +/-8V 1MOhm
▶ Probe Active Amp
Probe Active Amp | N2802A | Keysight | 25GHz InfiniiMax III
Probe Active Amp | N2803A | Keysight | 30GHz InfiniiMax III
Probe Active Amp | N2820A | Agilent | 3MHz/50uA High Sensitivity AC/DC Current 2ch
Probe Active Amp | N2830A | Agilent | 4GHz InfiniiMax III+
Probe Active Amp | N7001A | Keysight | InfiniiMax III+ 13GHz
▶ Probe Active Differ.
Probe Active Differ. | ADP305 | LeCroy | DC-100MHz 1400Vpk
Probe Active Differ. | ZD1000 | LeCroy | 1000MHz 1.0pF
▶ Probe Adapter
Probe Adapter | N5442A | Keysight | Precision BNC 50Ohm for Infiniium 90000 X-series
▶ Probe AMP Current
Probe AMP Current | 701934 | Yokogawa | for 701932 100MHz/30A
Probe AMP Current | N2779 | Agilent
Probe AMP Current | TCP404XL+TCPA400 | Tek | DC-2MHz 500A DC 750A DC
Probe AMP Current | TCPA300 | Tek | 100MHz Amplifier
▶ Probe Current
Probe Current | 96001 | Hioki | 400A MAX 20Hz-20KHz
Probe Current | 700937 | Yokogawa | DC-50MHz 15A
Probe Current | 1146A | Agilent
Probe Current | A6302XL | Tek
Probe Current | A6303 | Tek | AC/DC 100A DC-15MHz
Probe Current | A6303XL | Tek | 17MHz 8m 20A
Probe Current | AP015 | LeCroy | DC-50MHz 30A
Probe Current | CT-4 | Tek | AC Current Transformer with TCP202
Probe Current | N2774A | Agilent | DC-50MHz 15A with AMP N2775A
Probe Current | N2893A | Keysight | 15A peak/100MHz
Probe Current | PBC100(701928) | Yokogawa | DC-100MHz 30Arms/50A peak
Probe Current | SS-240A with PS-26 | Iwatsu | DC-50MHz 30Arms/50Apeak with PS-26
Probe Current | TCP0030 | Tek | AC/DC 30A 120MHz
Probe Current | TCP0030A | Tek | AC/DC 30A 120MHz
Probe Current | TCP202 | Tek
Probe Current | TCP202A | Tek
Probe Current | TCP305 | Tek | DC-50MHz 50A DC
Probe Current | TCP312 | Tek | AC/DC 30A DC-100MHz
Probe Current | TCP312A | Tek | AC/DC 30A DC-100MHz
▶ Probe Current CT
Probe Current CT | 9278 | Hioki | 200A AC/DC DC-100kHz
▶ Probe Deskew
Probe Deskew | TEK-DPG | Tek | Deskew Pulse Generator
▶ Probe Differential
Probe Differential | 9322 | Hioki | DC-10MHz Max 2000VDC
Probe Differential | 700924 | Yokogawa | DC-100MHz +/-1400V
Probe Differential | 700925 | Yokogawa | DC-15MHz +/-500V
Probe Differential | 701920 | Yokogawa | DC-500MHz +/-12V
Probe Differential | 701922 | Yokogawa | DC-200MHz +/-700V
Probe Differential | 1159A | Agilent | 1GHz FET input differential
Probe Differential | AP031 | LeCroy | max 1000Vrms 15MHz
Probe Differential | AP034 | LeCroy | 1GHz Active Differential
Probe Differential | D600 | LeCroy | 7.5GHz Active Differential
Probe Differential | DP-100 | Pintek | brand new 7KVp-p/100MHz 4 RANGE
Probe Differential | DP-50 | Pintek | brand new 7KVp-p/50MHz 4 RANGE
Probe Differential | P3000 | Tek | 10KV max
Probe Differential | P5205A | Tek | 100MHz
Probe Differential | P5210A | Tek
Probe Differential | P6248 | Tek | 1.5GHz X1/X10
Probe Differential | P6330 | Tek | 3GHz some missing parts
Probe Differential | P7313 | Tek | 12.5GHz some missing parts
Probe Differential | P7313SMA | Tek | 12.5GHz SMA some missing parts
Probe Differential | P7330 | Tek | 3GHz some missing parts
Probe Differential | P7340A | Tek | 4GHz some missing parts
Probe Differential | P7350 | Tek | 5GHz some missing parts
Probe Differential | P7350SMA | Tek | 5GHz SMA some missing parts
Probe Differential | P7360A | Tek | 6GHz some missing parts
Probe Differential | P7380A | Tek | 8GHz some missing parts
Probe Differential | P7504 | Tek | TriMod 4GHz some missing parts
Probe Differential | P7506 | Tek | TriMod 6GHz some missing parts
Probe Differential | P7508 | Tek | TriMod 8GHz some missing parts
Probe Differential | P7513 | Tek | TriMod 13GHz some missing parts
Probe Differential | P7513A | Tek
Probe Differential | P7516 | Tek | TriMod 16GHz some missing parts
Probe Differential | P7520A | Tek | TriMod 20GHz some missing parts
Probe Differential | P75PDPM | Tek | P75PDPM & P75TC & P75PMT
Probe Differential | P75PDPM | Tek | P75PDPM only
Probe Differential | PBD2000(701923) | Yokogawa | 2GHz
Probe Differential | TDP3500 | Tek | 3.5GHz Differential
Probe Differential | THDP0200 | Tek | 200MHz 50X/500X some missing parts
Probe Differential | TMDP0200 | Tek
▶ Probe High Voltage
Probe High Voltage | HVP-28HF | Pintek | brand new 28KVDC 500MOhm DC-200MHz
Probe High Voltage | P5100A | Tek | High Voltage
Probe High Voltage | P6015A | Tek | 75MHz 20KV 1000X with original hard case some missing parts
Probe High Voltage | P6015A | Tek | without original case some missing parts
▶ Probe Isolated
Probe Isolated | TIVH05 | Tek | 500MHz 3m
▶ Probe Logic
Probe Logic | MR9321 | Hioki | 4-channel logic probes
▶ Signal Integrity Analyzer
Signal Integrity Analyzer | SIA-3000 | Wavecrest | Up to 3GHz Clock / 4.5Gb/s Win98
▶ Traffic Generator
Traffic Generator | IXIA 400T | IXIA | with LM100TX
▶ Dynamic Signal Analyzer
Dynamic Signal Analyzer | 35670A | Agilent | opt AY2
Dynamic Signal Analyzer | 35670A | Agilent | opt 1D2/1D3/AY6/UFC
▶ FFT Analyzer
FFT Analyzer | CF-5220 | ONO | 2ch DC-200KHz 512K GPIB
FFT Analyzer | R9211C | Advantest
FFT Analyzer | SR785 | SRS | 2-channel DC-102.4kHz
▶ Frequency Response Analyzer
Frequency Response Analyzer | FRA5095 | NF | 0.1mHz-2.2MHz
▶ High Frequency Probe
High Frequency Probe | 85024A | HP
▶ Signal Analyzer
Signal Analyzer | FSUP50 | R&S | 1Hz-50GHz opt B4/B21/B25/B60/B61 need export license
Signal Analyzer | FSW85 | R&S | Win 7 2Hz-85GHz need export license
Signal Analyzer | MS2691A | Anritsu | opt 003/008
Signal Analyzer | MS2830A | Anritsu | 9KHz-6GHz opt 002/020/022/041
▶ Signal Analyzer MXA
Signal Analyzer MXA | N9020A | Agilent | Win XP opt 526/N9060A-2FP
Signal Analyzer MXA | N9020A | Agilent | Win XP opt 526/EA3/P26/PFR
Signal Analyzer MXA | N9020A | Keysight | Win 7 opt 513/A6J/B25/P13
▶ Signal Analyzer UXA
Signal Analyzer UXA | N9040B | Keysight | 3Hz-26.5GHz Win 10 need export license
▶ Signal Source Analyzer
Signal Source Analyzer | E5052A | Agilent | 10MHz-7GHz
Signal Source Analyzer | E5052B | Agilent | Win XP
▶ Spectrum Analyzer
Spectrum Analyzer | 8560E | HP | 9KHz-2.9GHz
Spectrum Analyzer | 8561B | HP | 50Hz-6.5GHz
Spectrum Analyzer | 8562A | HP | 9KHz-22GHz
Spectrum Analyzer | 8562EC | Agilent | opt 007/UK6
Spectrum Analyzer | 8563E | HP | 9KHz-26.5GHz
Spectrum Analyzer | 8563EC | Agilent | 30Hz-26.5GHz opt 006
Spectrum Analyzer | 8564EC | Agilent | 9KHz-40GHz
Spectrum Analyzer | 8565E | HP | 9KHz-50GHz opt 007/008
Spectrum Analyzer | 8565EC | Agilent | 9KHz-50GHz opt 007/1BP
Spectrum Analyzer | 8593E | HP | 9KHz-22GHz
Spectrum Analyzer | 8596E | Agilent | 9KHz-12.8GHz
Spectrum Analyzer | DSA1030A | Rigol | 9KHz-3.0GHz LAN/USB
Spectrum Analyzer | E4404B | Agilent | opt A4H/290/1D5/B72/1DR/1DS/060
Spectrum Analyzer | E4404B | Agilent | opt A4H
Spectrum Analyzer | E4405B | Agilent | 9KHz-13.2GHz opt B75
Spectrum Analyzer | E4407B | HP | opt 1D5/1DR/1DS/A4H/B72
Spectrum Analyzer | E4407B | Agilent | opt 1D5/A4H/B72
Spectrum Analyzer | E4440A | Agilent | opt 1DS
Spectrum Analyzer | E4440A | Agilent | opt 1DS/202/204/210/B78/B7J/BAC/BAF
Spectrum Analyzer | E4440A | Agilent | opt 115/122/123/1DS/226
Spectrum Analyzer | E4440A | Agilent | opt 122/123/1DS
Spectrum Analyzer | E4445A | Agilent | 13.2GHz opt 1DS
Spectrum Analyzer | E4445A | Agilent | opt 1DS/226/B7J/BAF
Spectrum Analyzer | E4445A | Agilent | 13.2GHz opt HA5
Spectrum Analyzer | ESA-L1500A | Agilent | 9kHz-1.5GHz
Spectrum Analyzer | FSEM30 | R&S | 20Hz-26.5GHz opt B4/B5/B7/B15
Spectrum Analyzer | FSEM30 | R&S | 20Hz-26.5GHz opt B4/B5
Spectrum Analyzer | FSG13 | R&S | 9KHz-13.6GHz opt K72/K74/K73/K82/K83/K84/K85/K100
Spectrum Analyzer | FSG8 | R&S | 9KHz-8GHz
Spectrum Analyzer | FSP3 | R&S | 9KHz-3GHz
Spectrum Analyzer | FSP7 | R&S | 9KHz-7GHz
Spectrum Analyzer | FSQ26 | R&S | 20Hz-26.5GHz opt B71/B72
Spectrum Analyzer | FSQ26 | R&S | 20Hz-26.5GHz opt B23/B25/B71
Spectrum Analyzer | FSU08 | R&S
Spectrum Analyzer | N1996A | Agilent | CSA opt 506/P06
Spectrum Analyzer | N9320B | Keysight | 9KHz-3.0GHz opt G01/H01
Spectrum Analyzer | R3132 | Advantest | 9KHz-3GHz opt 20/27/29
Spectrum Analyzer | R3182 | Advantest | 9KHz-40GHz
Spectrum Analyzer | R3265 | Advantest | 9KHz-8GHz opt 15/71/21/06
Spectrum Analyzer | R3271A | Advantest | 100Hz-26.5GHz
▶ Spectrum Analyzer 75ohm
Spectrum Analyzer 75ohm | R3132N | Advantest | 75ohm 9KHz-3GHz opt 27/74
▶ Spectrum Analyzer EMC
Spectrum Analyzer EMC | 8591EM | HP | EMC 9KHz-1.8GHz
▶ Spectrum Analyzer ESA-E
Spectrum Analyzer ESA-E | E4402B | Agilent | 9KHz-3GHz opt A4H/B72
Spectrum Analyzer ESA-E | E4402B | Agilent | 9KHz-3GHz opt A4H
Spectrum Analyzer ESA-E | E4402B | Agilent | 9KHz-3GHz opt BAA/AYX/A4H
▶ Spectrum Analyzer ESA-L
Spectrum Analyzer ESA-L | E4411B | Agilent | 9KHz-1.5GHz
▶ Spectrum Analyzer CATV
Spectrum Analyzer CATV | 2714 | Tek | 1.8GHz 75ohm opt 2707 TG
Spectrum Analyzer CATV | 8591C | Agilent | opt 004/101/102/010/043
Spectrum Analyzer CATV | 8591C | HP | opt 107/130
Spectrum Analyzer CATV | E4411B | Agilent | HDJ 75ohm opt 049/B72/1DP/A4H/A4J
Spectrum Analyzer CATV | E4411B | Agilent | HDJ 75ohm
Spectrum Analyzer CATV | E4411B | Agilent | ESA-L opt 1DS/B72/1DP/227/A4H/A4J
▶ Spectrum Analyzer HH
Spectrum Analyzer HH | FSH20 | R&S | 9kHz-20GHz opt B106/J100/K40/K46/K50/K51/Z114
Spectrum Analyzer HH | MS2724C | Anritsu | 9KHz-20GHz opt 9/19/44/45/541/542/543
Spectrum Analyzer HH | RSA306B | Tek | 9KHz-6.2GHz USB base
▶ Spectrum Analyzer Real Time
Spectrum Analyzer Real Time | RSA3408A | Tek | DC-8GHz opt 02/21
Spectrum Analyzer Real Time | RSA5106A | Tek | 1Hz-6.2GHz WIN 7
Spectrum Analyzer Real Time | RSA5126B | Tek | 1Hz-26.5GHz Win7 need export license
Spectrum Analyzer Real Time | RSA6106A | Tek | Win XP 9KHz-6.2GHz opt 01/02/07/110/20/21
▶ Spectrum Analyzer Real Time TG
Spectrum Analyzer Real Time TG | RSA5103B | Tek | 1Hz-3GHz opt B50/B85/53/9/PFR
Spectrum Analyzer Real Time TG | RSA607A | Tek | USB3 9KHz-7.5GHz opt 04 demo
Spectrum Analyzer Real Time TG | RSA6120B | Tek | Win7 9kHz-20GHz need export license
▶ Spectrum Analyzer TG
Spectrum Analyzer TG | E4402B | Agilent | opt A4H/1DN
Spectrum Analyzer TG | ESA-L1500A | Agilent | opt A4H
Spectrum Analyzer TG | ESA-L1500A | Agilent | opt 1DN
Spectrum Analyzer TG | FSEB20 | R&S | 9KHz-7GHz opt B4/B7
Spectrum Analyzer TG | FSEB30 | R&S | 20Hz-7GHz opt B7
Spectrum Analyzer TG | FSEB30 | R&S | 9KHz-7GHz opt B4/B5/B7
Spectrum Analyzer TG | FSL(3GHz) | R&S | 9KHz-3GHz Win XP excellent cosmetic
Spectrum Analyzer TG | FSL(6GHz) | R&S | 9KHz-6GHz Win XP
Spectrum Analyzer TG | R3132 | Advantest | 9KHz-3GHz opt 74
Spectrum Analyzer TG | R3361A | Advantest | 9KHz-2.9GHz with TG
Spectrum Analyzer TG | R3365 | Advantest | 100Hz-8GHz opt 71
Spectrum Analyzer TG | R3365A | Advantest | 100Hz-8GHz with TG
▶ Spectrum/Signal Analyzer
Spectrum/Signal Analyzer | FSIQ26 | R&S | 20Hz-26.5GHz opt B70/K71/K72/K73
▶ Spectrum/Video Analyzer
Spectrum/Video Analyzer | AT2500R3 | Sunrise | opt CATV/Digital CH Power/Time Domain
▶ Network Analyzer
Network Analyzer | 37247C | Anritsu | 40MHz-20GHz opt 2A
Network Analyzer | 37397D | Anritsu | 40MHz-65GHz opt 1A/2A/15V/SM6164
Network Analyzer | 8714ES | Agilent | 300KHz-3GHz
Network Analyzer | 8719ES | Agilent | 50MHz-13.5GHz opt 007
Network Analyzer | 8720C | HP | 5MHz-20GHz opt 010/C02
Network Analyzer | 8720D | HP | 50MHz-20GHz opt 010/085
Network Analyzer | 8720D | HP | 50MHz-20GHz opt 1BP
Network Analyzer | 8720ES | Agilent | 50MHz-20GHz no opt
Network Analyzer | 8720ES | Agilent | opt 085
Network Analyzer | 8720ES | Agilent | opt 010
Network Analyzer | 8720ES | Agilent | opt 1D5
Network Analyzer | 8751A | HP | 5Hz-500MHz
Network Analyzer | 8753D | HP | with 85046A bad cosmetic
Network Analyzer | 8753ES | Agilent | 30KHz-6GHz
Network Analyzer | A338 | Protek | 300KHz-8GHz
Network Analyzer | E7350A 8510XF | Agilent | 45MHz-110GHz opt 005/006 need export license
Network Analyzer | MS46121A | Anritsu | 150KHz-4GHz USB VNA opt 004
Network Analyzer | MS46121B | Anritsu | 150KHz-6GHz USB VNA opt 006
Network Analyzer | ZVC | R&S | 20KHz-8GHz opt B21/B22/B23/B24/B4/B5
▶ Network Analyzer 75ohm
Network Analyzer 75ohm | 8713C | HP | 300KHz-3GHz opt 1E1/1EC/1FP
Network Analyzer 75ohm | 8714ET | Agilent | 300KHz-3GHz opt 1E1/1EC
Network Analyzer 75ohm | 8714ET | Agilent | 300KHz-3GHz opt 1EC
Network Analyzer 75ohm | 8714ET | HP | opt 1E1/1EC
Network Analyzer 75ohm | 8753D | HP | 30KHz-3GHz opt 075
▶ Network Analyzer Bias
Network Analyzer Bias | 11612B | HP | Bias Network 45MHz-50GHz
▶ Network Analyzer Cable
Network Analyzer Cable | 85131-60012/60013 | HP | 3.5mm flexible test port cable
Network Analyzer Cable | 85133-60016/60017 | Agilent | 2.4mm Cable set 2 units 50GHz
Network Analyzer Cable | 85134-60003/60004 | Agilent | 2.4-3.5mm cable
Network Analyzer Cable | GVT4SO30073-002 | MegaPhase | 2.4mm Cable set 40GHz
▶ Network Analyzer ENA
Network Analyzer ENA | E5061A | Agilent | 300KHz-1.5GHz 2CH opt 016/1A7/250
Network Analyzer ENA | E5061B | Agilent | opt 005/3L5/019
Network Analyzer ENA | E5071A | Agilent | 300KHz-8.5GHz 4CH Win 98 opt 016/1E5/413
Network Analyzer ENA | E5071B | Agilent | opt 008/016/414/UNQ
Network Analyzer ENA | E5071B | Agilent | opt 015/214/UNQ
Network Analyzer ENA | E5071B | Agilent | opt 016/214/UNQ
Network Analyzer ENA | E5071B | Agilent | opt 016/214/1E5
Network Analyzer ENA | E5071C | Agilent | Win XP opt 019/1E5/480/790/810/820
Network Analyzer ENA | E5071C | Agilent | WIN 7 opt 019/1A7/285/TDR/UNQ
Network Analyzer ENA | E5071C | Agilent | WinXP opt 019/1E5/280/810/820
Network Analyzer ENA | E5071C | Agilent | WinXP opt 019/485/UNQ
Network Analyzer ENA | E5071C | Agilent | WinXP opt 280/UNQ
▶ Network Analyzer ENA 75ohm
Network Analyzer ENA 75ohm | E5062A | Agilent | 300KHz-3GHz opt 015/275
▶ Network Analyzer Multiport
Network Analyzer Multiport | 87050A | Agilent | opt H06
Network Analyzer Multiport | E5091A | Agilent | 9 ports for ENA
Network Analyzer Multiport | E5092A | Keysight | 20 ports for ENA opt 020/08C
Network Analyzer Multiport | SM5975 | Anritsu | 4 port Switch for 37397
▶ Network Analyzer PNA
Network Analyzer PNA | E8358A | Agilent | Win XP 300KHz-9GHz opt 015/P02
Network Analyzer PNA | E8358A | Agilent | Win XP 300KHz-9GHz opt 010
Network Analyzer PNA | E8358A | Agilent | Win XP 300KHz-9GHz no opt
Network Analyzer PNA | E8358A | Agilent | Win XP 300KHz-9GHz opt 010/015
Network Analyzer PNA | E8362B | Agilent | 10MHz-20GHz Win XP opt 010
▶ Network Analyzer PNA-L
Network Analyzer PNA-L | N5230A | Agilent | Win XP opt 080/245/1A7
Network Analyzer PNA-L | N5230C | Agilent | Win XP 300KHz-13.5GHz opt 120/F13/P02
▶ Network Analyzer S Par.
Network Analyzer S Par. | 8516A | HP | 45MHz-40GHz
Network Analyzer S Par. | N4418A | Agilent | connection with 8720ES opt H32
▶ Adapter Kit
Adapter Kit | 85130F | Agilent | 2.4mm(f)-3.5mm(f)
Adapter Kit | 85130G | HP | 2.4mm-2.4mm (m&f)
▶ Calibration Kit
Calibration Kit | 3653 | Anritsu | N type
Calibration Kit | 16195A | Agilent | 7mm with original hard case
Calibration Kit | 16195A | HP | 7mm with original hard case
Calibration Kit | 16195B | Agilent | 7mm
Calibration Kit | 3650A | Anritsu | SMA(3.5mm) Type
Calibration Kit | 3753-75R | Anritsu | 3GHz N type 75ohm
Calibration Kit | 85032-60011 | HP | TYPE N OPEN/SHORT
Calibration Kit | 85033D | HP | DC-6GHz
Calibration Kit | 85036B | Agilent | N type 75ohm DC-3GHz
Calibration Kit | 85038A | Agilent | DC-7.5GHz
Calibration Kit | 85039B | HP | DC-3GHz Type-F 75ohm
Calibration Kit | 85056A | HP | 2.4mm 50GHz
Calibration Kit | GCSN-3G | Gigalane | N type DC-3GHz
Calibration Kit | N4692-60003 | Agilent | ECal 10MHz-40GHz 2.92mm 2-port
Calibration Kit | SC6825 | Anritsu | Waveguide
Calibration Kit | U11644A(WR-19) | Agilent | 40-60GHz Waveguide WR-19
Calibration Kit | V11644A(WR-15) | Agilent | 50-75GHz Waveguide WR-15
Calibration Kit | V11644A(WR-15) | Keysight | 50-75GHz Waveguide WR-15
Calibration Kit | W11644A(WR-10) | Keysight | 75-110GHz
Calibration Kit | ZN-Z156 | R&S | 10MHz-67GHz 2port 1.85mm
Calibration Kit | ZV-Z21 | R&S | TOSM N Type 50ohm DC-18GHz
▶ Transmission/Reflection Kit
Transmission/Reflection Kit | 87512B | Agilent | 75ohm 5Hz-500MHz
▶ AWG
AWG | AWG2005 | Tek
AWG | AWG2021 | Tek | opt 04
AWG | AWG2041 | Tek | opt 0109
AWG | AWG430 | Tek | 200MS/s 4M word/ch 16-bit opt 01
AWG | AWG5002 | Tek | 600MS/s 2CH
AWG | AWG5002B | Tek
AWG | AWG5002C | Tek | 0.6GS/s 14Bit 2Ch opt 01
AWG | AWG510 | Tek | 1GSa/sec 4Mpoints/ch 8bit
AWG | AWG7122B | Tek | 12GS/s 2ch 10bits opt 01/06/08 need export license
AWG | AWG7122C | Tek | 12GS/s dual channel 3.2GHz Win 7 opt 01/06/08
AWG | VB8000(703150) | Yokogawa | 4ch 300kHz-300MHz opt 644-M
▶ Clock Generator
Clock Generator | CK1615 | NF | 1KHz-500MHz
▶ Function Generator
Function Generator | 33220A | Agilent | 20MHz
Function Generator | 33250A | Agilent | 80MHz bad cosmetic
Function Generator | 3325B | Agilent | 21MHz
Function Generator | 3325B | HP | 21MHz
Function Generator | 33511B | Keysight | 20MHz single CH ARB bad cosmetic
Function Generator | 33511B | Keysight | 20MHz single CH ARB normal cosmetic
Function Generator | 33511B | Agilent | 20MHz single CH ARB
Function Generator | 33522A | Agilent | 30MHz 2ch
Function Generator | 33522B | Agilent
Function Generator | 8904A | HP | Multi Function DC-600kHz opt 001/002/005
Function Generator | AFG1062 | Tek | dual CH 60MHz 300MS/s
Function Generator | AFG2005 | GWInstek | 0.1Hz-5MHz
Function Generator | AFG3021 | Tek | single CH 25MHz
Function Generator | AFG3021B | Tek | single CH 25MHz
Function Generator | AFG3022C | Tek | 2CH 25MHz
Function Generator | AFG3052C | Tek | 1MHz-50MHz 1GS/s 2Ch
Function Generator | AFG310 | Tek | single CH 0.01Hz-16MHz
Function Generator | AFG320 | Tek | dual CH 0.01Hz-16MHz
Function Generator | AFG3251 | Tek | 240MHz single CH
Function Generator | AFG3252 | Tek | 250MHz dual CH
Function Generator | AFG3252C | Tek | 240MHz 2CH
Function Generator | DFG-8020 | EZ | sine 20MHz
Function Generator | DG1022 | Rigol | dual CH 20MHz 100MS/s
Function Generator | DS345 | SRS | 30MHz
Function Generator | DS345 | SRS | opt 01/02
Function Generator | DS360 | SRS | Ultra Low Distortion 1mHz-200kHz
Function Generator | FG-100 | Princeton
Function Generator | FG120 | Yokogawa | 1uHz-2MHz dual CH
Function Generator | FG300 | Yokogawa | sine 15MHz dual CH
Function Generator | FGX-295 | Texion | 50MHz 125MS/s 14bit
Function Generator | GD-0005N | Protek | 1mHz-5MHz AM/FM/PM
Function Generator | SG-4311 | Iwatsu | 1mHz-30MHz 16Vpp
Function Generator | Tabor 8021 | Tabor | 20MHz Pulse/Function
Function Generator | Tabor 8551 | Tabor | 10mHz-50MHz single CH PLL
Function Generator | WF1948 | NF | 0.01uHz-30MHz dual CH
Function Generator | WF1966 | NF | 0.01Hz-50MHz dual CH
Function Generator | WF1974 | NF | 0.01Hz-30MHz dual CH
Function Generator | WS8102 | Tabor | 100MHz 2CH 16Vp-p into 50ohm
Function Generator | WW2074 | Tabor | 4CH 80MHz Sine CH1/2 no output
▶ Pulse Function Arb. Noise
Pulse Function Arb. Noise | 81160A | Agilent | opt 002/1A7/660
▶ Pulse Generator
Pulse Generator | 81101A | Agilent | 1mHz-50MHz
Pulse Generator | 8110A | HP | 150MHz
Pulse Generator | 81110A | Agilent | with 81112A
Pulse Generator | 8114A | Agilent | opt 001
Pulse Generator | 8116A | HP
Pulse Generator | 8130A | HP | dual CH 300MHz opt 020
Pulse Generator | 8131A | HP | dual CH 500MHz opt 020
Pulse Generator | 8131A | HP | single CH 500MHz
Pulse Generator | 8133A | HP | 3GHz opt 003
Pulse Generator | 8133A | HP | opt 002
▶ Pulse Generator Delay
Pulse Generator Delay | DG535 | SRS | 4 delay channels opt 01
▶ Pulse Pattern Generator
Pulse Pattern Generator | model 12050 | Picosecond | 800Mb/s-12.5Gb/s PPG
▶ Pulse/Pattern Generator
Pulse/Pattern Generator | 81133A | Keysight
Pulse/Pattern Generator | 81133A | Agilent
▶ Signal Generator
Signal Generator | 2910 | Keithley | 400MHz-2.5GHz 40MHz modulation BW
Signal Generator | 3216 | Leader | 100KHz-140MHz AM/FM
Signal Generator | 2023B | IFR | 9KHz-2.05GHz opt 12
Signal Generator | 68169B | Wiltron | 10MHz-40GHz opt 1/15A/16
Signal Generator | 68397B | Wiltron | 10MHz-65GHz
Signal Generator | 69063A | Wiltron | 2-40GHz opt 11/16/2B
Signal Generator | 69097A | Wiltron | 10MHz-67GHz opt 1/11/16
Signal Generator | 69097B | Anritsu | 10MHz-65GHz opt 16
Signal Generator | 8648C | HP | HP brand
Signal Generator | 8648C | Agilent | opt 1E5
Signal Generator | 8648D | Agilent | 9kHz-4.0GHz opt 1E5/1EA
Signal Generator | 8665A | HP | 4.2GHz opt 004
Signal Generator | JSG-1610A | Jung Jin | 200KHz-1100MHz
Signal Generator | MG3692C | Anritsu | opt 1B/2A/15A
Signal Generator | SME03 | R&S | 5KHz-3GHz opt SM-B1/B5/B12/B41/B42
Signal Generator | SMIQ03 | R&S | 300KHz-3.3GHz opt B1/B20/B11/B12/B17/B42/B45/B48/B50
Signal Generator | SMIQ03B | R&S | no opt
Signal Generator | SMIQ03B | R&S | opt B1/B11/B12/B17/B20/B45/B47/B48
Signal Generator | SMIQ03B | R&S | opt B1
Signal Generator | SMIQ03B | R&S | opt SMIQ-B42/B45/B47/B60/K20/B11/B20
Signal Generator | SMIQ03B | R&S | opt SMIQB1/B11/B12/B20/B21/B45/B48
Signal Generator | SMIQ06B | R&S | opt B60/B1/B11/B20/K18
Signal Generator | SML03 | R&S | 9KHz-3.3GHz
Signal Generator | SML03 | R&S | opt B3
Signal Generator | SML03 | R&S | opt B1/B3/B5
Signal Generator | SMY02 | R&S | 9KHz-2.080GHz
Signal Generator | VP-8133A | Panasonic | 10KHz-280MHz AM/FM DDS opt MOD
Signal Generator | VP-8133D | Panasonic | 10KHz-280MHz AM/FM DDS opt MOD
Signal Generator | MSG-2620 | Meguro | 100kHz-2100MHz
Signal Generator | N5181A | Agilent | opt 501
Signal Generator | SMT03 | R&S | 5KHz-3GHz opt B1/B4/B8/B11
▶ Signal Generator ESG
Signal Generator ESG | E4428C | Agilent | opt 503/UK6
Signal Generator ESG | E4433A | HP | 250KHz-4GHz
Signal Generator ESG | E4433B | Agilent | 250KHz-4GHz opt UN3/UN4/UN5/UN8/UND
Signal Generator ESG | E4433B | HP | opt 1EM/UN5/UN8/UND
Signal Generator ESG | E4437B | Agilent | 4GHz opt UND/UN8
Signal Generator ESG | E4438C | Agilent | 6GHz opt 001/417/506/UNB/UNJ
Signal Generator ESG | E4438C | Agilent | 6GHz opt 005/400/401/506/602/UNJ
Signal Generator ESG | E4432B | Agilent | opt 1E5/8ZE/H97/H99/UN5/UN7/UN8/UND
▶ Signal Generator GPS
Signal Generator GPS | STR4500 | Spirent | GPS Simulator
▶ Signal Generator Multi
Signal Generator Multi | 2026B | IFR | 10KHz-2.51GHz Dual CH opt 117
▶ Signal Generator MXG
Signal Generator MXG | N9310A | Agilent | 9KHz-3GHz no opt
▶ Signal Generator PSG
Signal Generator PSG | E8257C | Agilent | opt 520/1EA
Signal Generator PSG | E8257D | Agilent | opt 1EA/550/UNR
▶ Signal Generator PXIe
Signal Generator PXIe | M9380A | Keysight | PXIe CW Source opt F03
▶ Signal Generator Stereo
Signal Generator Stereo | VP-8193D | National | 100KHz-140MHz AM/FM Stereo
Signal Generator Stereo | VP-8194A | National | 100KHz-140MHz AM/FM Stereo
Signal Generator Stereo | VP-8194D | Panasonic
▶ Signal Generator Sweep
Signal Generator Sweep | 83640A | HP | 10MHz-40GHz no opt
Signal Generator Sweep | 83640B | Agilent | opt 001/008
Signal Generator Sweep | 83640B | Agilent | opt 001/002/006/008
Signal Generator Sweep | 83640L | Agilent
Signal Generator Sweep | 83650A | Agilent
Signal Generator Sweep | 83650B | Agilent | opt 001/002
Signal Generator Sweep | 83650L | Agilent | opt 001
Signal Generator Sweep | 83651A | HP
Signal Generator Sweep | 83651B | Agilent
Signal Generator Sweep | 83752B | Agilent | 10MHz-20GHz opt 1E1
Signal Generator Sweep | SMP02 | R&S | 10MHz-20GHz opt B1/B11/B15 FM/AM error
Signal Generator Sweep | SMR20 | R&S | 1-20GHz opt B14
▶ Signal Generator Synth
Signal Generator Synth | 8656B | HP | 100KHz-1GHz opt 001
▶ Signal Generator 3Phase
Signal Generator 3Phase | TG1703 | NF | 1Hz-500Hz 3-phase
▶ Signal Generator Vector
Signal Generator Vector | SMBV100A | R&S | opt B103/B51
Signal Generator Vector | SMBV100A | R&S | opt B106/B51/B92
Signal Generator Vector | SMU200A | R&S | single CH 6GHz opt B10/B13/B106/K49
Signal Generator Vector | SMU200A | R&S | single CH 3GHz opt B103/B11/B13/B31/K40/K42/K43/K45
▶ Waveform Generator
Waveform Generator | 33611A | Keysight | 80MHz 1 Channel
▶ RF Accessories
RF Accessories | Various | Various | Adapters Dividers Switches Couplers Splitters Cables Detectors LISN Filters
▶ RF AMP / Power AMP
RF AMP / Power AMP | Various | Various | Pre-Amps Power Amps Lock-In Amps Microwave Amps (many models)
▶ Antenna
Antenna | Various | Various | Biconical Horn Log-Periodic Dipole Field Probe (many models)
▶ EMC/EMI Test
EMC/EMI Test | Various | Various | EMC Receivers EMI Test Systems ESD Simulators Impulse Noise
▶ Bluetooth/Radio Tester
Bluetooth/Radio Tester | Various | Various | BT Testers Radio Communication Analyzers
▶ Audio/Video Equipment
Audio/Video Equipment | Various | Various | Audio Analyzers Video Generators Waveform Monitors TV Testers
▶ Optical Equipment
Optical Equipment | Various | Various | OSA Power Meters Light Sources Wavelength Meters Reflectometers
▶ LCR / Impedance Analyzer
LCR / Impedance Analyzer | Various | Various | LCR Meters Impedance Analyzers Fixtures Leads (many models)
▶ Curve Tracer
Curve Tracer | 370/371/377/370A/370B/371A | Tek | various configurations
Curve Tracer | CS-3100 | Iwatsu | 3kV/15A with test fixture CS-301
▶ Semiconductor Analyzer
Semiconductor Analyzer | 4145B/41501A/41501B/4155B/4155C/4156A/4156B/4156C | HP/Agilent | various
▶ Source Meter
Source Meter | 2400/2401/2425/2510/2520/2602/2636B/B2901B/B2902A/B2912A | Keithley/Keysight/Agilent | various
▶ Electronic Load DC
Electronic Load DC | Various Kikusui/Fujitsu/Takasago/Sorensen | Various | many models 150W-6KW
▶ Electronic Load AC
Electronic Load AC | AS-513/EWL-2000/EWL-4000/PCR Series | NF/Takasago/Kikusui | 2KVA-9KVA
▶ Power Supply AC
Power Supply AC | PCR/DP/KP/EP Series | Kikusui/NF/Chroma/California | 500VA-15KVA many models
▶ Power Supply DC
Power Supply DC | E3631A/E3632A/PAT/PAS/PAG/PVS Series | Keysight/Agilent/Kikusui/Takasago | many models 30W-15KW
▶ Power Analyzer
Power Analyzer | WT130/WT210/WT1600/WT1800/WT3000/PZ4000 | Yokogawa/Hioki/Tek | many models
▶ Recorder Hybrid
Recorder Hybrid | MV/DX/MR/DL Series | Yokogawa/Hioki | many models
▶ DMM
DMM | 34401A/34410A/34411A/3458A/2001/8808A | Agilent/Keysight/HP/Keithley/Fluke | many models
▶ Data Acquisition
Data Acquisition | 34970A/34972A/34980A/DAQ973A | Agilent/Keysight | mainframes and modules
▶ Standard (Freq/Voltage/Resistance)
Standard (Freq/Voltage/Resistance) | 5061B/5071A/2558/2560/2793 | HP/Agilent/Yokogawa | frequency voltage current standards
▶ General Lab Equipment
General Lab Equipment | Microscopes/3D Printer/Thermometers/GPIB-USB | Various | lab support equipment
Eglink System ¦ South Korea ¦ eglink@eglink.co.kr ¦ Total entries: 744